## How to
This is a workbook to help you prepopulate the required forms for Central Office
Installation jobs.
1. Completely fill out the page named "General Info". This can be done by clicking on the tab
marked General info at the bottom of the workbook. This information will be populated on each
form, where indicated in this workbook. If some of the fields are not applicable, leave them blank.
2. Please make sure you fill out every highlighted box. Do not leave the info that is in there from a
previous job.
3. Each form can be accessed by clicking on the appropriate tab at the bottom of the screen if
needed.
4. Printing:
To print the entire pre-filled workbook, click on the "AA Coversheet" tab. Then click on the shift key
and click on the last tab of the workbook.
For collo jobs, the CLEC JT test record and CLEC forms will need to be printed.
For all other jobs the last form to print will be RG47-0013 Service Interruption/Degradation Report.
The CLEC forms will not need to be printed.
You can print multiple forms by clicking on the first tab you wish to print, the click on
the Control key and click on the tabs of any other form you wish to print.
Once you have determined what forms you wish to print, click on File and then print or click
the little printer ICON on the top of the page.

## General info
Fields in RED must be by the WMC AA. Fields in Blue are Required for CLEC jobs and filled by the WMC AA. Fields in Black are filled out by the installer
BVAPP
Job ID
CLEC Name
CLEC location ID
CLLI
Address ID
Central office name
CO Address
City,State, Zip Code
Design Engineer
Design Engineer RC code
Installation Company
QTI manager
Managers phone number
Analytical Associate
AA Phone
AA Fax
WFA Ticket Number
Authorized phone number
Authorized fax number
Staging location
Admin Location
CO Manager
CO Phone number
Scheduled start date
Actual start date
Scheduled completion date
Actual completion date
PNAR
Installers name
Installers pager number
Job description
Summary of equipment involved
NMA number
Marked drawings
Note on B2: Qwest: Please use capital letters.
Note on B3: Qwest: This is the same as the BAN #. Please use capital letters
Note on B4: Qwest: Use only for collo jobs
Note on B5: Qwest: Please use capital letters
Note on B6: Qwest: Please use capital letters
Note on B20: Qwest: Telephone number CO ops will let you use during installation
Note on B21: Qwest: Fax numberCO ops will let you use, usually the CO fax number in that office.
Note on B22: Qwest: Location in CO where equipment to be installed is stored.
Note on B23: Qwest: Locaton where in CO where you perform paper work
Note on B33: Qwest: List the equipment added
Note on B34: Qwest: List the equipment added
Note on B36: Qwest: Insert Yes or No and if Yes, date sent to engineer.

## AA Coversheet
0
THIS JOB PACKAGE WAS PREPARED BY:
PREPARED BY:
0
PHONE:
0
FAX:
0
IN THE EVENT OF AN OUTAGE OR EMERGENCY CALL:
AZ,CO, ID, MT, NM, UT, & WY – 800-830-0722
IA, MN, ND, SD, NE, OR & WA – 800-341-8188
TO OBTAIN A PNAR (PLANNED NETWORK ACTIVITY NUMBER)
PLEASE CALL 1-800-258-8144.
NMA Group Phone: 800-557-0778, Option 1 Fax: 612-663-3015
http://saw3.uswc.uswest.com/NROC/NMAD/Nnmadbply.html
UPON COMPLETION OF THE JOB
PLEASE RETURN TO:
Work Management Center (WMC)
ATTENTION:
0
700 W. Mineral, Wyoming
Littleton, Co. 80120

## NAVL WAREHOUSES
0
PHOENIX,AZ | NAVPHAZ | TUCSON, AZ | NAVTUAZ
VALLEY NORTH AMERICAN |  | VALLEY NORTH AMERICAN
6652 W. BUCKEYE ROAD |  | 7825 N. HARTMAN LANE
85043 |  | 85743
KAREN BELLAR (602)-252-6531 |  | DAVID LOCKWOOD (800)-346-3895
JOE VALENZUELA (602)-252-6531 |  | SHEILA (520)-744-9700
AURORA, CO. | NAVDECO | COLORADO SPRINGS, CO | NAVCOCO
A-1 MOVE CENTER |  | A-1 RELOCATION
11701 E. 33RD. AVE. |  | 2445 WAYSIDE COURT
80010 |  | 80915
HOLLI EDWARD (303)-364-2684 |  | NATISHA SOLIS (719)-550-9700
SECONDARY CONTACT: JOHN MCCORMICK 720-260-3912 |  | DEE MONTGOMERY (719)-550-9700
GRAND JUNCTION, CO | NAVGRCO | CHEYENNE, WY | NAVCHWY
MESA MOVING AND STORAGE |  | BURKE MOVING AND STORAGE
681 RAIL ROAD BLVD |  | 388 NORTH AMERICAN ROAD
81505 |  | 82007
MARC THOMPSON (970)-242-1565 EXT.349 |  | BARRY RYERSE (307)-632-5536
TERRY KING (970)-242-1565 EXT 369 |  | BRYAN SCADDEN (307)-632-5536
CASPER, WY | NAVCAWY | BOISE, ID | NAVBIOD
WYOMING TRANSFER |  | AIR VAN NORTH AMERICAN
330 SOUTH SPRUCE ST. |  | 12368 WEST MONSANTO STREET
82601 |  | 83713
CAROL (800)-711-3826 |  | DAWN URATA (208)-375-7437
JIM SEE (307)-259-0840 CELL, HM (307)-265-0956 |  | EZELL GAINER (208)-375-6078
POCATELLO, ID | NAVPOID | JOHNSTON, IA | NAVDEIA
LEE HAWKES TRANSFER |  | BELTMANN NORTH AMERICAN
575 S. SECOND STREET |  | 5605 NORTHWEST 100TH ST.
83201 |  | 50131
KATHY ADAMS (800)-777-4395 |  | KELLY LEUTZINGER (515)-986-5559
BRYAN COOPER (208)-233-2337 |  | GREGG. (800)-398-5550
NORTH LIBERTY IOWA | NAVIOIA | SIOUX FALLS, SD | NAVSISD
HAWKEYE NORTH AMERICAN |  | BROUWER RELOCATION
2870 STONER COURT |  | 3503 N. 1ST AVE
52317 |  | 57104
JULIE KRETZSCHMAR (800)-397-3700 EXT. 230 |  | JARRED BROUWER (605)-333-0620
MICHELLE HUFF (319)-665-4020 EXT. 224 |  | BRANDI MEYER (605)-333-0620
OMAHA, NE | NAVOMNE | ST PAUL, MN | MANSTMN
ACE STORAGE |  | BELTMANN NORTH AMERICAN
7820 L STREET |  | 2480 LONG LAKE ROAD
68127 |  | ROSEVILLE,55113
SCOTT VAUGHN (402)-593-1234 |  | JOHN ROIGER (800)-949-8880 EXT. 2880
KATHY WALKER (402)-593-1234 |  | GLENN WEAKLEY (651)-639-2910
FARGO,ND | NAVFAND | BILLINGS,MT | NAVBIMT
FETTES MOVING AND STORAGE |  | KING TRANSFER
3939 7TH AVE |  | 7232 GRAND AVE.
58102 |  | 59106
ARLENE DITTUS (800)-325-3696 |  | STEVE CORDEIRO (406)-656-5464
DAVE GLASER (701)-277-3631 |  | ALLAN NICHOLS (406)-252-6394
LAC CRUCES, NM | NAVLANM | ALBUQUERQUE, NM | NAVALNM
PAUL MORGAN MOVING AND STORAGE |  | VALLEY NORTH AMERICAN
2180 W. HADLEY |  | 499 INDUSTRIAL BLVD
88004 |  | 87107
BARBARA MORGAN (505)-524-1821 |  | JIM GROLEAU (800) 624-2219
GLENN MORGAN |  | CHARLES CONJURSKE (505) 344-9030
Page 1 of 2
0
EUGENE, OR | NAVEUOR | PORTLAND,OR | NAVPOOR
LILE NORTH AMERICAN |  | AIR VAN NORTH AMERICAN
3330 ROOSEVELT BLVD. |  | 20141 S.W. 95TH PLACE
97402 |  | TUALATIN 97062
SUE STRIBLING (541)-689-6683 |  | STEPHANIE BOETGER (800)-862-4801
BOB HIXSON (541)-683-3900 |  | AUTUMN MENDENHALL (503)-885-2353
PASCO, WA | NAVPAWA | MEDFORD, OR
AIR VAN NORTH AMERICAN |  | CUMMING TRANSFER
2440 E. AINSWORTH |  | 2061 LARS WAY
99301 |  | 97501
RANDY COX (800)-456-0925 |  | NITA LAMB (800)-866-9640
ERIC BENDER (509)-547-0528 |  | ED WELCH (541)-772-6278
SPOKANE, WA | NAVSPWA | SEATTLE, WA | NAVSEWA
LILE MOVING AND STORAGE |  | AIR VAN NORTH AMERICAN
E 7017 MISSION |  | 1500 INDUSTRY ST, STE 300
99212 |  | EVERETT 98203
TIM ORSBORN (800)-543-1554 |  | SUE CROLLEY (425) 405-1837 or 800-326-3683
DIANA DAUTER (509)-534-1554 |  | GERI ELLIS 425-405-1841
RAPID CITY, SD | NAVRASD | SALT LAKE CITY, UT | NAVSAUT
GREENS MOVING & STORAGE |  | REDMAN VAN AND STORAGE
1115 EAST NEW YORK STREET |  | 2589 S.2570 W.
57701 |  | WEST VALLEY CITY 84119
GAY WHALIN (605)-342-7060 |  | LYNN CHANDLER (800)-733-6261
BRADY CHRISTOFFERSON |  | DEBBIE SMITH (800)-733-6261
BISMARK,ND | NAVBIND | MISSOULA, MT | NAVMIMT
JOBBERS MOVING & STORAGE |  | MONTANA TRANSFER COMPANY
1200 INDUSTRIAL DRIVE |  | 200 TRADE STREET
58501 |  | 59808
JANICA SOBOT (701)-222-1111 |  | JARRET HOKE (800)-447-7557
CINDY TERNS (701)-222-1111 |  | CLINT BAERTSCH (406)-728-8080
IF CONTACT CAN NOT BE MADE WITH NUMBERS
PROVIDED ABOVE, PLEASE CONTACT:
JEFF RYAN 303-599-1902 PAGER
OR JOHN RULLA 303-707-3111
Page 2 of 2

## Excess Warehouses
0
EXCESS MATERIAL WAREHOUSES
ARIZONA
Valley North American
6652 W. Buckeye Rd.
Phoenix AZ 85046
Contact: KAREN BELLAR
Phone: 602-252-6531
Fax: 623-936-2683
COLORADO
A-1 Relocation
11701 E 33RD AVE.,
AURORA, CO. 80010
Contact: DANIEL HERNANDEZ
Phone: 303-364-2684 EXT. 5519
Fax: 303-364-0903
OREGON
Air Van North American
20141 SW 95th Place
Tualatin, OR 97062
Contact: ROBERT ADAMS
Phone: 503-380-0657
Fax: 503-885-2363

## Job Start Policy
0
Job Start Policy
1) Installation crews will complete the following “Job Start” functions no later than 3 calendar days after
the DWP Materials Availability date. This is to occur even if there is insufficient material to actually start
the physical work on the job in order to identify and solve all potential installation problems early in the process.
2) Completing the “Job Start” function is defined as:
a) Verifying the installer has the latest DWP (check IOT or DWP server).
b) Identifying whether the job is feasible, as engineered, to include:
i) Determining that all cable-racking runs required to complete the job are not impeded.
ii) Determining that all cabling radius bends can be installed to 77350 standards.
iii) Determining that all assignments for power, signal, synch, etc. terminations are available.
iv) Determining that the materials ordered on the job spec allows the satisfactory completion of the job.
c) Identifying materials issues:
i) All materials ordered have been received by the installation crew, or have been verified to be available
at an off-site storage facility.
ii) This verification is not merely a check of a Procurement system. It is a physical check of as many of the
package contents as practical to ensure that the materials meet the job requirements and Job Finder
Report contents. The purpose is to identify engineering ordering or materials delivery problems as
early as possible.
iii) Examples (not meant to be all-inclusive):
(1) Actually open boxes to check packing slips vs. contents.
(2) Do not need to unravel cable reels to verify footage, but be aware as installation progresses.
(3) Check that BOM and packing slip and item itself are consistent.
(4) Check to see that panels that expand bay capacity are the correct type.
iv) Ensuring that any additional material needs are identified and ordered as soon as possible.
d) Identifying Real Estate items - (e.g Cable holes cut, Unistrut satisfactory, Collocation Cage placed, etc.)
e) Filling out and obtaining CO Operations’ signature on the General Method of Procedure. The MOP may be
posted in the Central Office, in the possession of the CO Ops Rep, or in the possession of the installer for
unstaffed locations.
f) When on-site construction actually commences:
i) Ensure that a PNAR is opened using http://lno.uswc.uswest.com/cgi-bin/pnar/PNAR.pl
or by calling the appropriate center.
ii) Log the PNAR # in IOT.
3) Beginning the physical work on the job is required within 3 business days of posting the General Method
of Procedure (MOP) unless supported by a Date Management Root Cause code entered in IOT as a Job Start
note which explains the delay (see codes listed below).
4) COMMUNICATIONS - When the "Job Start" functions are complete:
a) IOT will be updated by filling out the IOT Electronic MOP with the following information
i) For Customer Premise jobs note who signed MOP (can be appropriate QTI Sup, Field Eng., DS Rep,
or CO Rep).
ii) For all other C.O. jobs:
(1) Note who signed the MOP.
(2) Note that the MOP is either posted or provided to CO Ops.
(3) Note that Job Start functions were completed w/RG-47-0158.
b) Notes of any issues uncovered during the above checks will be entered as needed and documented on
proper job forms (including who was contacted to resolve).
Root Cause Codes
1. AMC (Incorrect configuration)
2. Site Survey (Site survey incomplete or not done)
3. Planning (Standard intervals, CPD incorrect)
4. Detail Engineering (Design issue, incorrect material ordered, drawings not updated or
incomplete, received unreasonable or incorrect dates)
5. Material (Damaged material, backorder, incorrect PID)
6. Installation (Resource issue, re-work issue)
7. Customer (Customer not ready)
8. Scheduling (Reschedule due to higher priority job, removed from hold)
9. Power (No power available)
10. Real Estate (Building not ready)
11. Central Office Operations
12. WMC (Info late to field, job not assigned)
13. Quality (Pre-existing condition to fix, re-work due to request from quality) Note: Examples not all inclusive.
14. Weather
15. At DWP release negotiated date.
16. Right of Way issues (radio jobs)

## RG47-0005 General MOP
|  | GENERAL Method of Procedure | [6 empty] | RG 47-0005
|  | COE Installation / Removal / Modification | [6 empty] | (9/04)
Service Assurance Contact Numbers:
800-830-0722 NROC & Alarm Center |  |  |  |  | 800-341-8188 Switch/Sw Pwr.
800-258-8144 Net Facility Center |  |  |  |  | 800-879-1200 Net Management Ctr.
Service Assurance Power Contact No.: 1-800-713-3666
City, State | 0 | Office | 0 | Office Location | 0 | Phone
List Days and Hours of Operation |  |  |  | Start Date | 0 | Completion Date | 0
BVAPP | 0 | JOB ID | 0:00 | WFA# (if applicable) | 0 | Supplier/Vendor Name | 0
System Type (Refer to RG47-0162 for Power Switch Detailed MOPs) Switch | [5 empty] | Type
Toll |  | Collo |  | Fiber |  | Real Estate
DSL |  | Radio |  | Power |  | Other
Review the steps listed and place Y, N or NA in the appropriate box for the job. Work should not begin until this form has been reviewed and signed by QWEST and supplier representatives. All information must comply with QWEST Technical Publication 77350
STEP |  |  | DESCRIPTION |  |  |  | CO Ops | Installation
1 | A signed Method of procedure (MOP) shall be on site, reviewed and posted. The Question your Work Policy and Have You Considered Checklist has been reviewed.
2 | Have you reviewed the Qwest Supplier Expectations: Access & Security Chapter 2.2 Safety Chapter 2.4, Combustibles Chapter 2.6 TP 77350 on site and available?
3 | All tools and material will be staged/stored at __________________________________________(list location)
4 | The Design Work Package (DWP) is on site and deemed feasible. All assignments are correct, ie. AC and DC Power systems, Grounding, Signal, Synchronization, DS0, DS1, DS3 Fiber and Alarm or Design Engineer has been contacted to correct per field conditions.
5 | All cable racks are sufficient and of the correct type. Cable routes, including entrances to the job associated equipment frames, are available and unimpeded.
6 | The material will be inventoried for correct quantities and types. Any Bill of Material (BOM) shortages will be identified, ordered and set with acceptable delivery dates for on time job completion.
7 | A separate Detail MOP will be completed for all work performed on live equipment whether presently in service or not. This includes work on equipment in an area where potential hazards exist. (A job order may have a number of Detail MOPs. Please see Tech pub 77350 15.3.1)
8 | Alarms will be verified, tested or non-test tagged attached to network element.
9 | Office drawings will be marked to reflect current office conditions.
10 | Applicable job papers, specs, documents, and parts will be signed over to QWEST representative.
11 | Surplus materials and supplier tools will be removed from the job site upon job completion.
12 | AC outlets and equipment lighting have been correctly engineered and provisioned as required.
13 | Real Estate items are complete, ie. Collocation cages, cable holes and other associated building changes.
14 | All material and engineering issues will be escalated to the WMC or Quality Auditor for the area.
JOB DESCRIPTION - please attach an additional piece of paper if necessary | [6 empty] | PNAR | 0
0
EQUIPMENT LOCATION |  |  |  | ALARM
POWER |  |  |  | AI X.25
DSX-1 |  |  |  | TIMING
DSX-3 |  |  |  | FIBER
MDF |  |  |  | MISC
The undersigned approved the procedures herein described as complete, whether a general or detailed procedure. No changes shall be made without approval of both the QWEST Central Office Operations representative and the Installation Supplier Representative or Contract agent.
Name (print & Signature) |  |  | Title | Contact Numbers
Person Performing/In Charge of Work (Required) |  |  |  | 24Hr Emergency Contact Number |  |  | Date
0 |  |  |  | 0
Real Estate or Service Supplier Representative |  |  | (Required) | Phone |  |  | Date
0 |  |  |  | 0
C O Operations Manager or Design Representative |  |  | (Required) | Phone |  |  | Date
0 |  |  |  | 0
Central Office Operations ON CALL Support Technician |  |  |  | Phone |  |  | Date

## RG47-0162 Detailed MOP
0
|  |  | Detailed | [10 empty] | RG47-0162
|  |  | Method of Procedure | [10 empty] | (9/04)
Service Assurance Contact Numbers:
800-830-0722 NROC & Alarm Center |  |  |  |  | 800-341-8188 Switch/Sw Pwr.
800-258-8144 Net Facility Center |  |  |  |  | 800-879-1200 Net Management Ctr.
Service Assurance Power Contact No.: 1-800-713-3666
Start Date: |  |  |  | Start Time: |  |  |  | Completion Date: |  |  |  | Complete Time:
Qwest BVAPP# |  | 0 |  |  | Supplier Order Number: | [5 empty] | System Type:
Central Office Name: |  | 0 |  |  | CLLI: |  | 0 |  |  |  | Date:
Design Engineer: |  | 0 |  |  | Installation Service Supplier: |  | 0 |  |  |  | Service Supplier Rep (Print Name): |  | 0
Qwest Representative Approver (Print Name): |  |  | 0 | [7 empty] | Service Supplier Rep Contact #: |  | 0
Identify equipment to be installed, modified, or removed:
Planned Network Activity Registration Number |  |  | Job Type |  |  | Switch |  |  | Power |  | IOF |  |  | Other
0
If there is not a CO Operations manager or Qwest representative on site (after DMOP is approved and before beginning work) and/or you suspect that you’ve caused a service interruption, call as indicated: Switch/ Switch Power/ Power: 800-341-8188 option 1. Toll/ IOF/ Synchronization/Timing/Other: 800-258-8144
Detailed below are all the steps necessary to explain the work that is to be performed. Steps will be numbered, and appear in the order in which they will occur, with the work operation responsibility indicated by checking the appropriate boxes. Work will not begin until this form has been reviewed and signed by QWEST and Supplier representatives. This form may be duplicated if additional space is required. All information must comply with QWEST Technical Publication 77350 or applicable Qwest Technical Publication.
Have you Considered?
• Added or removed equipment with potential to impact service or working equipment | [5 empty] | • Hazardous materials handling and disposal |  |  |  |  | • Establishing a bridge with the NROC to monitor the office
• Eye wash, battery spill kit, First Aid available | [5 empty] | • Location of spare fuses |  |  |  |  | • Office records/drawings available and corrected
• Equipment Compatibility | [5 empty] | • Before and after tests |  |  |  |  | • Documents referenced in the MOP on-site
• Affected Working Circuits | [5 empty] | • Emergency restoration plans |  |  |  |  | • Back out procedures
• Work area protection | [5 empty] | • All applicable Product Change Notices have been reviewed/applied |  |  |  |  | • Fuse alarm operation
• Special tools/ insulated tools /materials | [5 empty] | • Cables have been metered and traced |  |  |  |  | • Personal Protection Equipment
Question Your Work
# | ITEM | [11 empty] | Date and Initial (Service Supplier)
1 | Prior to commencement of work operation(s), I have requested proper coverage. g CO Operations Representative notified? gHas everyone who needs to know about the impact of this work been notified? | [11 empty] | Yes |  | No
2 | Can I prevent or control service interruptions? | [11 empty] | Yes |  | No
3 | Is this the right time to do this work? Check proper Maintenance Window/time (M-F) Time: (Sa-M) Time: | [11 empty] | Yes |  | No
4 | I am trained and qualified to do this work? | [11 empty] | Yes |  | No
5 | Is the supporting documentation current and error-free to minimize all risks associated with this task? | [11 empty] | Yes |  | No
6 | I have everything I need to quickly restore service if something goes wrong? | [11 empty] | Yes |  | No
| w Step-by-step "backout" procedures | [11 empty] | Yes |  | No
| w Cables tagged for ease or reconnection | [11 empty] | Yes |  | No
| w Spare fuses of the proper amperage for the equipment relevant to this DMOP. | [11 empty] | Yes |  | No
| w The proper material (e.g., lugs, screws/bolts/nuts, connectors, cable/wire, etc.) | [11 empty] | Yes |  | No
7 | I am using the right tools to perform this work. | [11 empty] | Yes |  | No
8 | In the event of a service interruption, I will complete the RG47-0013 and notify:
| w Qwest network Management Center: 800-879-1200 Option 1 | [11 empty] | Yes |  | No
| w Qwest CO Operations | [11 empty] | Yes |  | No
| w My immediate Supervisor | [11 empty] | Yes |  | No
9 | Working equipment that has been deactivated/powered down/removed from service in order to complete these procedures will be placed back in service. | [11 empty] | Yes |  | No
10 | I have identified the locations of essential and/or government circuits such as:
| w 911 | [11 empty] | Yes | No | NA
| w Federal Aviation Administration (FAA) | [11 empty] | Yes | No | NA
| w System Signaling 7 (SS7) | [11 empty] | Yes | No | NA
| I have previously submitted the PNAR and notified NROC, so that they could initiate release requests to ensure proper authorization.* | [11 empty] | Yes | No | NA
| I have ensured that these circuits have been properly identified, labeled, and that the NROC has contacted the appropriate representatives to obtain the proper work release authorization(s). Note: Use the Search Tool http://pas16.uswc.uswest.com/omni/docview.html | [11 empty] | Yes | No | NA
* Required for upgrades/retrofits that do not use the CIA process. The Service Supplier must initiate the PNAR at least 10 days prior to performing the upgrade/retrofit so that the NROC can obtain the releases. * IF YOU ANSWERED "NO" TO ANY OF THE ABOVE -- CALL YOUR SUPERVISOR PRIOR TO JOB START
RESPONSIBILITY
S T E P # | S U P L | Q W E S T | S S P * | DESCRIPTION OF WORK OPERATION
RESPONSIBILITY
S T E P # | S U P L | Q W E S T | S S P * | DESCRIPTION OF WORK OPERATION
* (SSP) Safe Stop Point
The original MOP will be signed locally by the QWEST C.O. Manager or designated personnell
Service Supplier Representative: | [5 empty] | Title: |  |  |  | Phone: |  |  | Date:
QWEST CO Manager or Representative: | [5 empty] | Title: |  |  |  | Phone: |  |  | Date:

## RG41-0046 Job log
INSTALLATION JOB LOG
BVAPP #
0
DATE: | DETAILS:

## RG47-0166 Missing Mat Form
JOB SITE MATERIAL INVENTORY FOR MISSING ITEMS
DATE:
BVAPP# | 0
JOB # | 0
OFFICE/CLLI: | 0
INSTALLATION VENDOR: |  | 0
CONTACT NAME: |  | 0
CONTACT NUMBER: |  | 0
Bill of Material Item # | Part # | Description | Quantity
Comments:

## RG47-0004 JIM
Job Information Memorandum
Date
City, State and Zip |  |  |  |  | Office | [6 empty] | BVAPP# |  | JIM No.
0 |  |  |  |  | 0 | [6 empty] | 0
Service Supplier Company Name
0
Subject
Spec. Item Number
Confirming Telephone Call
From Installer |  |  |  | To Engineer | [8 empty] | Date
Drawing Change Req | [5 empty] | Job Cost Affected
| Yes | No |  |  |  |  | Yes |  |  | No
Additional Material Req | [5 empty] | New DWP release req
| Yes | No |  |  |  |  | Yes |  |  | No
Problem Description
Suggested Remedy
[7 empty] | Total Hours: |  |  |  |  | Total Cost:
Effect on Job Completion Date
Submitted By: | [8 empty] | Telephone No.
Address | [8 empty] | Email Address
|  |  | State |  |  |  |  | Zip Code

## JIM-ICN Categories Sheet
0
Categories Sheet
Job Extension Notice Categories (used as a part of the Date Management Process)
1. AMC (Incorrect configuration)
2. Site Survey (Site survey incomplete or not done)
3. Planning (Standard intervals, CPD incorrect)
4. Detail Engineering (Design issue, incorrect material ordered, drawings not updated or incomplete,
received unreasonable or incorrect dates)
5. Material (Damaged material, backorder, incorrect PID)
6. Installation (Resource issue, re-work issue)
7. Customer (Customer not ready)
8. Scheduling (Reschedule due to higher priority job, removed from hold)
9. Power (No power available)
10. Real Estate (Building not ready)
11. Central Office Operations
12. WMC (Info late to field, job not assigned)
13. Quality (Pre-existing condition to fix, re-work due to request from quality) Note: Examples not all inclusive.
14. Weather
15. At DWP release negotiated date
16. Right of Way issues (radio jobs)
JIM Form Categories
1. Materials ordered incorrectly on job originally & not contained on BOM – create a JIM & amendment.
2. Engineering Issue – create a JIM but do not create an amendment.
3. Electrical Contractor JIM – create a JIM but do not create an amendment unless
Electrical Work was performed by installation.
4. Procurement or Delivery Issues – create a JIM but do not create an amendment.
5. Informational Only JIM - create a JIM but do not create an amendment.
6. Removal, Decommission, Switch & Power Quotes - create a JIM & amendment - input # of hours in
QTY field.
7. Raking JIM, due to IOT raking issues - create a JIM & amendment - used specified labor codes
8. Administration JIM that adds Admin and NMA hours to job - create a JIM amendment
(AA’s create this JIM & amendment – NMA will not exceed 4 hours on this JIM. If additional hours are
needed, QTI to use Category #12)
9. Travel Time - create a JIM & amendment (AA’s create this JIM & amendment) - input # of
hours in QTY field.
10. Cards (1-30 cards = 1 hour) & Modules (1-12 modules = 1 hour) - create a JIM & amendment
– input # of hours in QTY field that is determined by # of cards installed.
11. Correcting Pre-Existing Conditions - create a JIM & amendment - input # of hours in QTY field
12. Extra Time needed in addition to original NMA Time – create a JIM & amendment - input
# of hours in QTY field (Installers create this JIM & amendment)
*MAKE SURE TO ONLY CHOOSE ONE NOTE CATEGORY PER JIM
Input the number of the category that describes the contents of the JIM (Same process as the Job
Extension Process). This should be the very first input into the Problem/Remedy Description field.
(I.e. “8 This JIM is for 5 additional administration hours.”)

## Valid JIM document
0
Basic Requirements:
*All information must be complete;
i.e. Date, Location, Office, Order number, JIM number, Supplier name, confirming telephone call from installer to engineer, JIM category (one category per JIM), etc.
*JIMs for additional installation time need to be submitted prior to work being completed.
*Verify that the Amendment associated to the JIM is correct before it is distributed to Engineering.
*JIM needs to be distributed to engineering by AA within 24 hours of being submitted.
*JIM needs to be Accepted/Declined by engineering within 48 hours of being distributed.
*JIMs have to be submitted and accepted within 3 weeks after job completion for data purposes.
Valid JIM Items:
# | JIM Category | Description | IOT Specifications | Type in & Save | Submit | Distribute | Accept/Decline | Calls required & timeframes
1 | Additional Material required but not ordered by engineer | If rakeable material was ordered through Graybar and/or procured through the installation storeroom and not contained on BOM and time is needed for credit or if additional material is needed. | *Need to Create Amendment | Anyone | QTI | AA | Engineer | COEIT, QTI Manager, Field Engineer, and Design Engineer concurrence prior to JIM being entered.
2 | Engineering Issue | Items such as assignment changed, ran cable route, added additional equipment or removed equipment. Additional time needed to help re-engineer job. Time to go out to site again due to a scope change after job completion. | Do not create an amendment. | Anyone | QTI | AA | Engineer | COEIT, QTI Manager, Field Engineer, and Design Engineer concurrence prior to JIM being entered.
3 | Electrical Contractor JIM | Quote for Electrical work. JIM needs to be submitted, accepted and a PO cut by Procurement prior to Electrical Contractor performing work. | Do not create an amendment. AA has to send notification to procurement to get PO cut once JIM is accepted by engineer. (If QTI did the electrical work, they will have to submit a JIM & Amendment accordingly) | Anyone | Anyone | AA | Engineer | AA must notify Procurment contact to cut a PO for the amount approved via e-mail. Make sure to breakdown material vs. labor. Do not include taxes.
4 | Procurement or Delivery Issues | If material did not arrive on scheduled due date, causing unproductive time spent driving out to site for delivery. Waiting on NAVL Delivery where the supplier identified that NAVL is late and we have to wait for delivery. Delinquent material issues. Installer has to procure their own material from their stocks for rush jobs. | Do not create an amendment. | Anyone | Anyone |  | AA
5 | Informational Only JIM | If the description states an issue that is information only to be relayed to the engineer and AA, to notify them of changes on the job, that is not related to material or labor hours, then submit the JIM in IOT for approval from engineer. JIMs for extra time for connecting both ends of the cable, or any other extra time above raked hours that installation feels that they spent on job, that does not fit under any other category. | Do not create an amendment | Anyone | Anyone | Engineer related JIM – AA | WMC related – AA
Eng related - Engineer
6 | Removal and Decommission, Quotes & Power & Switch Quotes. All other quotes. | Quotes for removals or decommission jobs to regain hours spent on job. Quotes for Power Jobs and Switch jobs. | *Need to Create Amendment | Anyone | Anyone | AA | Engineer
(Input # of hours in the QTY field use MISC code)
7 | Raking JIM, due to IOT raking issues | Review the IOT work items, was the item marked "unused" if so it needs labor time. Was the material on the BOM, but did not get raked? Need credit for connections for 3, 6, 8, 12 & 44 packs of cable. Need credit for 20ft aux bar. Need credit for connectorizing the cable ordered in bulk. Provide Zurwan Amaria with any part numbers of material that did not rake. Review JIM Process, raking JIMs need to be submitted at end of job to eliminate possible duplication. | *Need to Create Amendment. Need to specify and itemize what line items did not get raked in the face sheet of the JIM and in the amendment. | Anyone | Anyone |  | Engineer
8 | Administration JIM that adds Admin and NMA hours to job | JIM input by AA (Not Installer) upon job completion per the Admin and NMA Process to add incremental administrative hours depending on total raked hours on job in work items. | *Need to Create Amendment. | AA | AA |  | AA | Submit & Accept before travel JIM is accepted and after JCN is accepted.
9 | Travel Time | Travel time should be itemized. (per DSP 10) | *Need to Create Amendment. | AA or QTI | AA or QTI | AA | AA or Engineer | Submit & Accept after JCN accepted. JIMs from QTI must be submitted proactively when it is determined that additional travel time will be incurred over and above the amount allotted in the standard.
AA will use QTI Manager & Mileage For Each Central Office SS to determine travel time. No time given for METRO offices. If QTI incurs additional travel time a JIM and amendment must be submitted over and above what has been allotted by the WMC/AA. This JIM must be distributed to the Design Engineer.
10 | Cards & Modules | Time given for cards in 1 hour increments, if 1-30 cards are being installed, then 1 hour of install time is allotted, if 31-60 cards are installed, then 2 hours of time is allotted, etc….. Time given for modules in 1 hour increments, if 1-12 modules are being installed, then 1 hour of install time is allotted, if 13-24 cards are installed, then 2 hours of time is allotted, etc….. | *Need to Create Amendment. # of hours should go under the Cards & Modules category in the Amendments Screen and # of hours in the QTY field depending how many were installed. | Anyone | Anyone |  | AA
11 | Correcting a Pre-Existing Condition | When a Service Supplier becomes aware of a preexisting condition that impacts the work on the job they are installing or removing; the Service Supplier shall contact the Qwest Design Engineer and take corrective action if authorized. |  | Anyone | QTI | AA | Engineer | COEIT, QTI Manager, Field Engineer, and Design Engineer concurrence prior to JIM being entered.
*Need to Create Amendment. Hours should go under Miscellaneous category in the Amendments Screen and # of hours in the QTY field.
12 | Extra time needed in addition to original NMA Time | Any additional time spent above and beyond the 4 NMA hours already given for NMA testing. Subject to Engineer’s approval. | *Need to Create Amendment. | Anyone | QTI | AA | Engineer | COEIT, QTI Manager, Field Engineer, and Design Engineer concurrence prior to JIM being entered.
Use the Misc. drop down, Input # of hours in the QTY field, Need to be submitted by Installer
*Need to Create Amendment = Check off Add Work Items (Amendments) button on JIM face sheet in IOT.
JIM's Common Issue List
| Cable Holes | There is no need to add a JIM for cable holes using the COM09 component if cable hole putty is ordered on the BOM. The part # for this putty is now associated with COM09 and IOT rakes automatically. If you do see putty ordered and it doesn't rake, please ask Natalie's team to add that part# to the IOT rake. If you go through cable holes multiple times and the IOT work items allotment is not sufficient, submit a JIM using COM09. Use Category #7
| Consumable Material | We do not pay for extra installation time for installing any consumable material.
| Quality | We do not pay for the Suppliers to redo their work. If the JIM says had to go back to fix, redo, tighten, and clean up or similar item, this is not a valid JIM.
| Connections | Credit is already given for connections of connectorized (IOF13/14, IOF15/16), coaxial (IOF06/07), and bulk (IOF08/09, IOF10/11) cable in the work items under the line item for running the cable. Use Category #7
An example of the calculation is as follows
[# of cables * length * IOF06(.01)] + [# of cables *IOF07(.4)].
*The only exception is the 3, 6, 12 packs of cable and cable ordered in bulk on BOM.
| Collocation Jobs | JIMs/Quotes must always be submitted to get the time necessary in IOT. Use JIM Category #6, MISC Labor code. These JIMs should be submitted prior to the work beginning if possible.
| Switch & Power Quotes | JIMs/Quotes must be submitted to get the time necessary in IOT if the raking does not occur. Use JIM Category #6 and the appropriate Labor codes in the IOT amendment. These JIMs should be submitted prior to the work beginning.
| Fiber Cables | Running of fiber cables does not include attaching connectors and/or terminating the fiber cable. Use JIM Category #7 and IOF07 labor when submitting JIM's/Amendments for these terminations.
| AC Electrical Work | IOT does not rake for this work. If the work is done by Installation, creat a JIM using Category # 3 using the MISC labor code to recover the hours in IOT.
| Items contained on BOM but not raked correctly | If an item is contained on the BOM but does not get raked by IOT, contact Natalie Odette to ensure the part # is loaded in to the catalog. When the jobs completes and the item has still not raked, insert a JIM using Category #7 and the appropriate Labor Code.
| Items procurred in the field but considered a rakeable item | If an item is procurred in the field (through Common systems order or other), is a rakeable item (refer to Unit Componet Descriptions) and does not get raked by IOT, submit a JIM in IOT using Category #1 and the appropriate labor code.

## AC Elec Quote Form
AC Electrical Work Quote Form
Date | _____________________________________________________________
BVAPP# | 0
Installation Supplier(if not QTI)
| Contact | __________________________________________________
| Phone | __________________________________________________
| Contact | __________________________________________________
| Phone | __________________________________________________
Qwest Engineer/Planner
| Phone | __________________________________________________
Qwest Installer
| Phone | __________________________________________________
Description of work performed e.g. placing/removing AC outlets,
lighting, junction boxes, AC runs, etc:
__________________________________________________________________
__________________________________________________________________
__________________________________________________________________
__________________________________________________________________
Qwest Central Office |  | 0
(CLLI code and state) |  | __________________________________________________
Estimated Complete Date |  | __________________________________________________
Labor $ | _____________________________________________________________
Hours | _____________________________________________________________
Rate/per hour $ | _____________________________________________________________
Material (if applicable) $ |  | __________________________________________________
Detailed Material List - Please attach a list of Electrical Vendor provided material and Qwest provided
material (if applicable). Included in the Material List needs to be; line item detail, quantities and unit
prices for each part.

## Document Routing Checklist
0
Retained in White Envelope (RG51-0083) at Central Office for 180 days | OK (Place a checkmark if applicable | DOCUMENTS TO OTHER DEPARTMENTS (QTI, WMC, Engineering, etc.) | OK (Place a checkmark if applicable
Design Work Package (DWP) and Detail Spec (latest version)
MOP/General & Detailed RG47-0005 & RG47-0162 |  | In IOT
Job Log RG41-0046 (IOT copy if available) |  | In IOT
Material Shortage Form RG47-0166 |  | Material Shortage Form RG47-0166 (must be faxed to WMC if material shortage is identified)
Central Office Common Systems Order Form RG47-0165 |  | Central Office Common Systems Order Form RG47-0165 (faxed to WMC)
Test Record(s) RG47-0157 |  | Test Record(s) RG47-0157 (must be faxed to WMC & QTI Supervisor for collocation line sharing or virtual jobs at job completion)
Job Information Memorandums (JIMS) RG47-0004 (IOT copy(s)) |  | In IOT
Letter(s) Of Deviation (if issued) RG47-0169 |  | Letter(s) Of Deviation (if issued) RG47-0169 (faxed to WMC and Engineer)
Service Interruption / Degradation Report (if problem occurred) RG47-0013
Installation Assignment & Capacity Sheet (Alarm sheet) RG41-0170
Installation Revised / Completion Form RG47-0002 (IOT copies if in Electronic ICN area) |  | Installation Revised / Completion Form RG47-0002 (IOT copies if in Electronic ICN area)
Document & Material Disposition RG33-0043 (if necessary, also must have COT signature)
Job Start & Completion Checklist RG47-0158 |  | Job Start & Completion Checklist RG47-0158
Quality Checklist RG47-0161 |  | Quality Checklist RG47-0161 (must be faxed to WMC at job completion for collocation jobs).
Certified Local Exchange Carrier (CLEC) Report RG47-0160 (must also leave copy in CLEC cage or posted at CLEC site) |  | Certified Local Exchange Carrier (CLEC) Reports RG47-0160 (must be faxed to WMC & QTI Supervisor at job completion for collocation jobs).
Request for Disposition of Qwest Communications Material RG47-0010
Bill(s) of Lading RG33-0017 (if N/A, mark such)
Marked Drawings |  | Marked Drawings (Mail to Design Engineer)
Report of Equipment Disconnected from Plant RG47-0009 (Removal jobs only) |  | Report of Equipment Disconnected from Existing Plant RG47-0009 (Required by Design Engineer on removal jobs)
Storage Battery Acceptance Report RG47-0001 (Power jobs only)
Refer to Pub 77350 Section 13 and 14 for all requirements concerning paper work.
Note on D3: Cathy Paradiso: Put a checkmark where applicable

## RG47-0002 ICN
Installation / Revised Completion Notice
Confirmation of Installation Completion
|  |  |  | Network Monitoring and Analysis (NMA) Confirmation # |  |  |  |  | 0 |  |  |  | Partial
Final
[6 empty] | PNAR # |  |  | 0
| Request for Revised Completion | [11 empty] | Extension
PNAR Closed Date
Marked Drawing, Date sent to WMC
Job-related materials & documentation handed over to CO Operations w/ signed RG33-0043.
Changed "Continuous Ship" address to immediate supervisor for materials borrowed from another job.
City, State, and Zip |  |  |  |  | Office / CLLI |  |  |  |  | Design Engineer's Name
0 |  |  |  |  | 0 |  |  | 0 |  | 0
BVAPP # |  | 0 |  |  | Job # | 0 |  |  |  | WFA # |  | 0
Scheduled Dates: | [5 empty] | Start | 0 |  |  | Complete |  | 0
Actual or Extension date: | [5 empty] | Start | 0 |  |  | Complete |  | 0
STRUCTURE | [13 empty] | Y/N/NA
Are the Frame/Bay/Cabinet top supports attached and secure?
Is the Frame/Bay/Cabinet grounded?
Are the Floor/Wall penetrations designated and fire stopped? (List holes used) Fire block Label (RG47-0133)?
Is the Illumination adequate?
Are the AC conduits and outlets located per specification (Typically front & rear of every 3rd bay)?
Are the combustibles and excess material cleaned up?
EQUIPMENT |  |  |  |  | LOCATION (RR, Shelf, block, jack, etc.) |  |  |  |  | Tested Y/N/NA |  |  | Designated Y/N/NA
Bay / Equipment Added
BDFB / PBD / Fuse Panel
DS0 MDF Vertical / Horizontal
DSX-1
DSX-3
Fiber Cables
Synchronization Cables
Alarm Cables
COLAN cables
Other
Job Package (All references in TP 77350 Issue M, Chapter 13.4)
Design Work Package (DWP) |  |  |  |  | Release # |  |  |  |  | Date:
Circuits and cables tested?
Has equipment that has been removed been noted on RG47-0009 & RG47-0010 and forms placed in job pack?
Job Comments: (Please refer to RG43-0003 for documents turned over to CO Operations)
Service Supplier Company |  |  |  |  | 0 | [5 empty] | Date
Installer Printed Name |  |  |  |  | 0 | [5 empty] | Telephone |  | 0
Installer Signature
For Qwest Use Only
This is: |  |  |  |  | Accepted |  |  | Not Accepted
If NOT Accepted, Reasons:
Operations Representative Printed Name | [6 empty] | 0 |  |  |  |  | Date
Operations Representative Signature | [11 empty] | Telephone
Note on Q25: Qwest: Fill in all blocks with an Y, N or NA

## RG33-0043 Material Disp
BVAPP # |  |  |  | Date
0
Document and Material Disposition
City , State |  | Office |  | Job ID
0 |  | 0 |  | 0
Shipped To: |  |  | Shipped via:
Quantity | Description |  |  | Item Number | Spec Number
Remarks:
Form Completed by: |  |  | Material/Document Received by:
0

## RG47-0161 Quality Checklist
BVAPP # | CLLI CODE:
0 | 0
ENGINEER: | ENGINEER RC CODE:
0 | 0
ITEM TO CHECK | CORRECT? (NA, Y, N) | REMARKS
IRON -
1. Stanchion / Support per standards and configuration? 3.1.7, 3.13.6
2. Cut even and filed smooth? 3.13
- cut ends painted? 3.13.4
3. Bolts and nuts secured? 3.5
4. Lock washers in EQ Heavy areas? 3.9.2
5. Alignment correct? 3.13
6. Finish Clip / Cap in place? 3.4, 3.6
7. Splices / Clamps correct? 3.9.3
8. Cable rack labeled? 8.17
9. Other
BAY -
1. Top support - 2 supports bays, 4 supports cabinets? 3.12.2
2. Preloaded bays are wired correctly, within standards, and match front equipment drawings? 3.13.1
3. Bay ground is correct type and guage, crimped and connected correctly with star washers? 11.3
4. Bay label correct (RG47-0130 or RG47-0131)? 8.1
5. RR designation per standards and configuration? 8.3.1
6. Anchors torqued & Indicators in place or note in job log? 3.21
7. Molding / Dust shield attached? 77351 Chapter 2, Anchoring 2.5.6
8. End shield, end guards (If applicable)? 3.12.7
9. End of aisle labeled (both ends)? 8.3.6
10. AC outlets/lighting installed per standard ? 9.1
11. AC outlets/lighting labeled with fuse box and fuse position? 8.7.1 & 8.7.2
12. Other
EQUIPMENT -
1. Location / Alignment (per Floor Plan, aisle spacing F&R, guards req'd)? 3.16.1
2. Bolts, nuts, screws tightened? 3.5
3. Correct amount of supports? 3.16.2
4. Grounding (chassis/frame) of correct type and guage, crimped and properly connected with star washers? 11.1.8
5. Shelf / Equipment labeling correct per standards and configuration, (ie F/E drawing, RG47-0130) 8.3.
6. Other
CABLE INSTALLATION POINT TO POINT - (Maintenance slack loop not to exceed 4 feet. 5.1)
- DSO -
1. Type & gauge correct? Per DWP and standards
2. Termination location correct both ends? Per DWP
3. Routing correct? 5.1
4. Protection of wire? 5.4
5. Spliced per standard? 5.13
6. Connections
- amphenols seated correctly and secured? 7.3
- wire wraps correct? 7.7
7. Securing : -
- cable lacing secure & correct? 5.5
8. MDF and Blocks labeled correctly? 8.5
9. Shields/Drain leads correct? 7.7
10. Bending radius correct? 5.3
11. Tested? 2.8
12. Other
- DS1 -
1. Type & gauge correct? Per DWP and standards
2. Termination location correct both ends? Per DWP
3. Routing correct? 5.1
4. Protection of wire? 5.4
5. Spliced per standard? 5.13
6. Connections:
- amphenols seated correctly and secured? 7.3
- wire wraps correct? 7.7
7. Securing
- cable lacing secure & correct? 5.5
- Shelf/panel labeled correctly? 8.3
8. Shields/Drain leads correct? 7.7
9. Bending radius correct? 5.3
10. Tested? 2.8
11. Other
- DS3 -
1. Type & gauge correct? Per DWP and standards
2. Termination location correct both ends? Per DWP
3. Routing / Segregation correct? 5.1
4. Cable lacing secure & correct? 5.5
5. Protection of wire? 5.4
6. All labeling correct? 8.3, 8.4
7. BNC / LCC's crimped correctly and installed per standard? 7.2
8. Bending radius correct? 5.3
9. Tested? 7.2.1
10. Other
- FIBER -
1. Type & gauge correct? Per DWP and standards
2. Termination location correct both ends? Per DWP
3. Terminations correctly seated at one or both ends? 7.9
4. Routing correct? 5.1
5. Protection of fiber? 5.10.4
6. Cable lacing secure & correct? 5.10
7. 12 strands or less in trough? (OFNR/P cable) 5.10.10
- 12 strands or more on fiber rack? (OFNR/P cable only) 5.10.10
8. All labeling correct? 8.3, 8.4
9. Bending radius correct? 5.10.6, 5.10.7
10. Slack limits and sotrage adhered to? 5.10.2
11. Tested? 7.9.1
12. Other
- TIMING -
1. Type & gauge correct? Per DWP and standards
2. Termination location correct both ends? Per DWP
3. Leads correctly terminated at both ends. *Note: Shield grounds shall be terminated at ONLY one end unless specifically directed otherwise? 7.7
4. Routing correct? 5.1
5. Protection of wire? 5.4
6. Cable lacing secure & correct? 5.5
7. All labeling correct? 8.4
8. Bending radius correct? 5.3
9. Completed in maintenance window? 2.9.1
10. Tested? 2.8
11. Other
- ALARMS -
1. Type & gauge correct? Per DWP and standards
2. Termination location correct both ends? Per DWP
3. Routing correct? 5.1
4. Protection of wire? 5.4
5. Cable lacing secure & correct? 5.5
6. Connections correct at both ends? 7.3, 7.7
7. Bending radius correct? 5.3
8. All labeling correct? 2.7.1.1, 8.4
9. Alarm record book completed? 2.7.1.1
10. Tested with NMA? 2.7
11. Other
- POWER CABLE -
1. Type & gauge correct? Per DWP and standards
2. Termination location correct both ends? Per DWP
3. Terminations properly crimped and connected at both ends? 9.6
4. Routing correct? 5.1. 9.2
5. Protection of wire? 5.4
6. Bending radius correct? 5.3
7. Supported & secured correctly? 5.5, 9.2.3
8. Power/return fiber tags attached and labeled both ends? 8.11
9. H-taps crimped correctly, taped, cover applied and tied with twine? 9.6.8
10. No-ox applied on connections & fuses? 9.6.4
11. Power Cables banded together in panned rack? 9.2.3
12. Proper voltage and polarity verified and tested? 2.8
13. Completed in maintenance window? 2.9.1
14. Other
BDFB or POWERBOARD -
1. Fuse location correct? Per DWP and standards
2. All labeling correct? 8.10
3. Completed in maintenance window? 2.9.1
4. Other
MISC. FUSE PANEL -
1. Fuse location and size correct? Per DWP and Standards
2. Alarm Fuse Indicator Pin? 8.9.1.2
3. All labeling correct (ie - 48V, shelf label)? 8.10.5
4. Fuse Book has shelf, amp and RR? 8.9
5. If service affecting, completed in maintenance window? 2.9.1
6. Other
CABLEHOLES / FIRESTOPPING -
1. Closure sealed properly? 4, 3M standards
2. Tagged and signed properly? 4.3
3. Location designated top/bottom? 4.4
4. Other
MISC. ENVIRONMENT -
1. Trash removal completed? 2.3.10
2. Bill of lading filled out? 14.2
3. Hazardous material disposal arranged? (Chapter 12)
6. Work area protection? 2.3.6
7. MOP's/Job papers removed from equipment and walls? 2.3.10
8. Foreign Object Ground tested?
If so, what was the reading _______ 1st test __________2nd test
9. Other
DOCUMENTATION -
1. Records/Drawings, installer marked shall be noted 8.18.4
* copy at site?
* copy sent to engineer?
- RED - 8.18.1
All equipment additions
All relocations
All assignment changes
Record title box changes & quantities
- YELLOW - 8.18.2
All equipment being removed from Qwest facility.
If frame numbers, quantities, assignments, change, highlight old numbers
- GREEN - 8.18.3
All "record only" changes
New information regarding existing COE configurations
2. Engineer notified of any & all changes? 2.1.10
* Put note in job log that engineer was notified of changes and date recorded. *
3. MOP's (With start and finish time/date and all relay racks touched). Chp 15
4. JIM's - Chp 13
5. Test Record RG47-0157 - Chp 13, 2.8.1
6. Document & Material Disposition Form RG33-0043 - Chp 13
7. Job log RG41-0046 - Chp 13
8. ICN RG47-0002 - Chp 13
9. Most recent release of DWP - Chp 13
10. NMA # on ICN , Job Log, and Installation assignment and Capacity sheet RG41-0170 2.7.2.1
11. PNAR # on ICN? 14.9.6, 15.9
12. Other
COLLOCATION ONLY - CHAPTER 16
1. CLEC Area
- floor taped (if cageless)? Per DWP
- cage built? 16.1.4 and Per DWP
- cage grounded? 16.4.2
- bays labeled? 16.3.2
2. CLEC Provisioning Forms? 14.17, 16.6.1
3. Material Disposition Forms? 14.3
4. Cable slack to required lengths? Per DWP
5. CLEC CLLI code ,floor number,cable name and cable count tagged on cables and labeled on equip.? 16.3.1
6. Cable secured to rack or fence? 16.5.3
7. Lockout tagout on power source? 8.19.5
8. IFB Feed Terminal/NID exist? Per DWP
9. Bay Mounted Line Sharing Splitter Cards SEATED? Per DWP
10. Other
Collocation-Outward Augment (Decommission, Power Reduction, all other removal work)
1. Cables secured, coiled, or tied to rack if reusable? 16.5.3
2. Cables labeled with 2 "Collocation Spare (For Reuse) tags" 1 for each end if reusable? Estimated slack cable footages on tag? 16.5.2
3. All blocks stenciled & labeled if reusable? 8.19.6
4. Power cabling removed from source, tagged and coiled and secured near source for future reuse? 16.5.2
5. Power fuses removed and circuits breakers deactivated and stenciled as spare? 16.5.2
6. Identifying tags attached to colo area or cage (CLEC provisioning forms)? 14.17
7. Yellow or white tape with black lettering used when no place for tags? 8.19.16
8. Is CLEC equipment removed from CLEC site? (Physical) 16.5.2
9. Is CLEC site condition restored (i.e. floors, holes, A/C, stantions, etc.)? 2.3.10, 2.3.13
10. Has Virtual Equipment been removed and delivered to SICM? 16.5.1 and Per DWP
11. Has fuse position been tagged if reserved? 16.5.1
12. Cable measurements sent to engineer? Per DWP
13. CLEC Name removed from all labeling? 8.19.6
14. CLEC Sheets complete (one copy in job pkg., one copy in folder hung on cables)? 16.5.1 and Per DWP
15. Other
Form Completed by: | Date: | Title:
THIS SECTION TO BE FILLED OUT BY STATE INTERCONNECT MANAGER (SICM) ONLY
CLEC FINAL HANDOFF
1. Verify final payment
2. Schedule handoff (SICM, ATR, RE, COM & CLEC)
3. Review access policies
4. Verify card reader
5. Designate CLEC access location
6. Reinforce cell phone policy
7. Reinforce 77350 Standards
- MOP requirement
- identify staging area/masonite policy
- grounding requirements
8. Provide keys/obtain receipt
9. Provide COM phone & pager
10. Provide emergency and maintenance phone numbers
11. Provide tech pub URL location
12. Provide CLEC Provisioning Forms
- provide all detailed data necessary
- label cable ends
13. Verify fiber jumpers have been placed for shared fiber entrance
14. Express fiber withdrawn from CO? Shared fiber unspliced in POI?
15. Obtain CLEC acceptance/completion form
16. Provide contact information for installation of AC outlets for Cageless Collocation
17. Virtual Decommission - CLEC owned equipment returned to CLEC?
18. Other

## RG47-0010 Disp of Material
REQUEST FOR DISPOSITION
OF QWEST COMMUNICATIONS MATERIAL
Date
Ship To Location |  |  |  | Street Address | City, State, Zip
Design Engineer's Name |  |  | Design Engineer Fax# | Job Site Address | City, State, Zip
0 |  |  |  | 0 | 0
Engineer Tel No. |  |  | Office CLLI | Office Name | Returned by: |  | Phone/Pager
|  |  | 0 | 0
Job ID |  |  | BVAPP# | RMA Contact Name |  | RMA Contact Phone or Email
0 |  |  | 0
Disposition of Material/Equipment Returned
| Quantity | Part No. | Vendor | Material Description (include all info)* | Reason For Return | RMA | Excess (New) | Reuse (Used) | Salvage/Scrap
| A | B | C | D | E | F | G | H | I
1
2
3
4
5
6
7
8
9
10
* Preferably a highlighted/marked copy of the Bill of Material (BOM) is attached to this form and the Material Description column references the BOM Item Numbers.
Complete all applicable spaces on each row (1-10) to ensure proper disposition of material and proper accounting procedures. Use the codes below to complete
column E and place a checkmark in the appropriate disposition columns for each items (columns F-I)
A - Removed From Existing Plant | D: D - Excess - More Shipped Than Ordered; F: G - Defective - replaced
B - Surplus Ordered by Qwest (New) - Not installed | D: E - Wrong Material Ordered; F: H - Vendor Claim **
C - Surplus Ordered by Qwest (Resue/Excess) - Not installed | D: F- Wrong Material Shipped - Correctly Ordered; F: J - Other reasons (Explain On reverse Side)
** For Vendor Claims must Notify NEP for DEPOT Orders for
material damanged in transportation or at the warehouse.
NOTE TO INSTALLER: Fax or email to: 1) RMA/Procurement Group @ 303-707-2795 when RMA requested & 2) and a copy to remain in the job package.
To Be Completed By Warehouse
Name of Receiver | D: Phone / Pager; E: Bill of Lading # (Return from Field); I: Date
ATTACH A COPY OF THIS FORM TO EACH BOX BEFORE RETURNING
0
Instructions for completing RG47-0010:
1. Complete the top portion of the form with information pertaining to the job, contact
information and the location to which the material/equipment will be shipped.
2. Input the following information about the material/equipment being returned as follows (each item is recorded on a separate line):
Column A – Input the Quantity
Column B – Input the Part Number
Column C – Input the Vendor (Manufacturer)
Column D – Input the Material/Equipment Description (or reference the Bill of Material
[BOM] item number and attach a highlighted/marked copy of the BOM to the form.)
Column E – Input the appropriate Return Code (list below line 10)
Columns F-I – Only one of these columns is to be marked per item listed on the form:
Column F – Place a checkmark if the material/equipment is to be returned to the manufacturer.
This disposition includes material that was sourced from the manufacturer and either arrived broken
and requires replacement, or that is intact but was not used on the job.
Column G – Place a checkmark if the material/equipment is to be sent to the Excess Warehouse.
This disposition is for material that was sourced from the Excess Warehouse.
Column H – Place a checkmark if the material/equipment is to be sent to the Reuse Warehouse.
This disposition includes material that was either sourced from the Reuse Warehouse or was
removed from existing plant.
Column I – Place a checkmark if the material/equipment is to be salvaged or scrapped. This disposition
includes material that is no longer intact and/or would not be desirable for usage on a future job.
3. Distribute the form (email or fax) as appropriate, using the instructions at bottom of the form.
0
RMA/Procurement Group | bar: A to D
Tanon Cammarata Area Manager
Office: 303-707-3138
Email: tcammar@qwest.com
Pager: 877-459-5367
Dorothy Lundin
| Office | 303-707-3134
| Fax | 303-707-2795
| Email | dlundin@qwest.com
Customer Representative: WA, UT, IA, NE, ND, SD, NV, IL, WI, MI, TN, NC, SC, GA, FL
Yvonne McGinness
| Office | 303-707-2978
| Fax | 303-707-2795
| Email | ymcginn@qwest.com
Customer Representative: MT, ID, OR CA, NY, OH, IN, PA, MD, MA, DE, DC, NJ, VT, NH, CT, ME, RI, AK
Bill Nicholas
| Office | 303-707-2972
| Fax | 303-707-2795
| Email | whnicho@qwest.com
Customer Representative: CO, WY, NM, AZ, MN, KS, KY, WV, VA, AL, MS, LA, OK, TX, MO, AR

## RG47-0165 Common Sys Ord Form
|  | Fax order to: 303-707-9673 | Phone #s: MT, ND, SD, NE - Jane Rose 303-707-5070 |  |  | Date
AZ, CO, UT, NM, ID, WY - Andrew Noworytta 303-707-5029
WA, OR, MN, IA - Susan Agostine 303-707-7987
City | State | Work Type | BVAPP | BVAPP Ref# | Job ID | ACCT Codes
0 |  |  |  | 0 | 0
Address ID | CLLI code | Engineer's Name | Engineering RC Code | Engineering Company |  | Install Comp Date
0 | 0 | 0 | 0 |  |  | 0
Installation Manager |  | Ordered By | Installer Pager | Installer Phone | Install Company | RFS Date
0 |  | 0 | 0 | 0 | 0
Ship to:
Special Shipping or Material Staging Instructions (shipping to CO site must be approved by Installation Supervisor or WMC Manager):
Standard shipping method is ground, all other must be approved by departmental Director.
QTY. | PART NUMBER | MANUFACTURER | CATALOG DESCRIPTION |  |  | CONSUMABLE MATERIAL ITEM Y/N
(Mandatory) | (Mandatory) | (Optional) | (Mandatory) |  |  | (Mandatory)

## RG47-0168 App Letter of Dev
0
Application for Letter of Deviation
(Completed by the Installation Service Supplier)
. | Issued in rare cases when all othr viable engineering options have been explored and eliminated
. | Used for one-time, site-specific conditions and is documented accordingly.
. | Not valid soley for wholesale or economic concerns.
. | Not used to remedy quality workmanship defects
. | Not to be used to continue non-standard practices that may have bee applied in the past, or
where new standards have superceded the old (i.e., earthquake bracing upgrades due to
seismic zone changes).
. | A Letter of Deviation should be approved prior to the Installation start date, but must be
approved prior to the Installation complete date.
. | All affected Central Office drawing layers must be marked accordingly.
Installation Service Provider:
Provide a detailed description of the rationale for applying for a letter of Deviation
(include: all applicable reference drawings / sketches, safety, environmental, technical,
and service concerns. Identify the exact Qwest AMC, technical documentation or
Technical Publication chapter, and paragraph / section the deviation applies to:
Date of Application:
State: |  | Central Office: | 0 | Job Number/BVAPP: | 0
Location within Central Office:
Deviation submitted to Design Engineering Representative:
Name of Application Originator:

## RG41-0170 Alarm Assgn, pg 1
0
INSTALLATION ALARM ASSIGNMENT AND CAPACITY SHEET #1
|  | Date Faxed: |  | Number of pages including cover sheet:
1. | To: NMA DATABASE |  |  | 2. | From: INSTALLER
| Name: |  |  |  | Name: | 0
| Phone #: 800-557-0778 Opt 1 |  |  |  | Phone #:
| Fax #: 612-663-3015 |  |  |  | Page #: | 0
[5 empty] | Vendor Name: | 0
To: QWEST ENGINEER
CLLI: ____________________________ BVAPP #: ____________________________ EST #: ____________________________
| Name: | 0 |  |  | CLLI: | 0
| Phone# |  |  |  | BVAPP #: | 0
| Fax# |  |  |  | EST #: | 0
3. | IS THIS JOB AN ALARM ADDITION: |  |  | OR | REMOVAL:
4. |  |  | INSTRUCTIONS FOR COMPLETION
All jobs requiring alarms must be surveyed at Job Installation Start. The installer WILL be responsible for completing the Installation Assignment and Capacity Sheet and faxing (Cover page and all Assignment page(s)) to both the Qwest Engineer and the NMA Database Group, within a minimum of 48 hours up to a maximum of 72 hours of installation complete.
Before the job is completed the installer WILL be responsible for wiring and testing all Discrete and Serial alarms required with the NMA Database Group (Phone #763-536-3888). After testing, NMA will issue a LOG #. Record LOG # on Installation Alarm Assignment & Capacity Sheet and on the RG-47-0002 (ICN - Installation Completion Notice). If there were alarms that could not be tested the Installer WILL fill out the Alarm / OSS Testing Incompletion Tag, including the NMA LOG #, and tie it onto the appropriate piece(s) of equipment. In the Capacity Note Section, located on Sheet 2, provide any information concerning capacity needs and / or requirements for future installations.
EXPLANATION OF FIELDS
| 1. | NMA Database Group and Qwest Engineer contact information to be supplied by Installer.
| 2. | Installer information (including job information) to be filled out by Installer completing the form.
| 3. | Designate whether this job adds alarms or removes alarms, NMA needs all information either way.
| 4. | Instructions for filling out the Installation Alarm Assignment and Capacity Sheets 1 and 2.
| 5. | Installer name, phone # (and/or page #), etc., to be filled in by the Installer before faxing.
| 6. | After testing record LOG #, issued by NMA.
| 7. | Capacity Notes are to be used to identify potential shortages in Discrete & Serial alarms, for
future growth.
| 8. | Alarm Bay is the Relay Rack location of the bay containing the alarm equipment.
| 9. | Shelf is the shelf designation for the alarm assignments.
| 10. | ETEL is the designation for the alarm assignments.
| 11. | Address/Remote (alarm).
| 12. | Additional Comments
| 13. | If alarms can not be tested; Fill out Alarm / OSS Testing Incompletion Tag; Attach (w/string) to
each piece of equipment (i.e. shelf). This may require more than (1) one Alarm / OSS Tag.
Note on D6: Qwest: Name of person you are faxing form to.
Note on F3: Qwest: put date in this cell

## RG41-0170 Alarm Sheet, pg 2
5. | Installer: | 0 |  |  |  | Phone #: | 0 |  | Pager #: | 0 |  | PIN# |  |  | Vendor |  | 0
| CLLI: | 0 |  |  |  | BVAPP: | 0 |  | JOB ID#: | 0
6. | LOG #: | 0 |  |  |  |  | NMA Phone #: 800-557-0778 Opt 1 / NMA Fax #: 612-663-3015
7. | Discrete & Serial CAPACITY NOTES:
SERIAL ALARMS:
8. | Alarm Bay: RR |  |  |  |  | 8. Shelf: |  | 9. ETEL: |  |  | 10. Address/Remote(#)
ALARM UNIT INFORMATION
| MAP | MAC | PORT | DISPLAY# | SDR # | EQUIPMENT TYPE / RR / SHELF |  |  |  |  | TERMINAL |  | PUNCHING |  |  | LEAD XMT+ XMT- RCV+ RCV-
| Serial Alarms Tested By: | [7 empty] | Date:
DISCRETE ALARMS:
8. | Alarm Bay: RR |  |  |  |  | 8. Shelf: |  | 9. ETEL: |  |  | 10. Address/Remote(#)
|  |  | DATA BASE INFO |  | TERMINATING EQUIPMENT (NE) INFORMATION | [7 empty] | EQUIP X-CONN |  |  | ASSN X-CON
| SDR # | *BIT | Alarm Message |  | Equipment Type / RR / Shelf |  |  | Intfc Dwg | Figure | TS | Alm | Rtn | TB | Alm | Rtn | TB | Alm | Rtn
* Place a BIT/C in the BIT column if alarm is wired-out Normally Closed
| Discrete Alarms Tested By: | [7 empty] | Date:
12. | Additional Comments:
13 | If alarms can not be tested; Fill out Alarm / OSS Testing Incompletion Tag; Attach (w/string) to each piece of equipment (I.e. shelf). This may require more than (1) one Alarm / OSS Tag.
NOTE: If more space is needed to record alarms use additional copies of this sheet / or attach blue line with all the appropriate information.
Note on C8: Qwest: This number need to be entered in the log also.

## RG47-0009 Rpt of Dis
RG47-0009
(9/04)
Report of Equipment Disconnected From Existing Plant
|  |  |  | Date: | Sheet __1____ | of __________
Design Engineer's Name |  |  | Address |  | Partial | Final
0
City, State, Zip |  |  | Office | BVAPP# | Job ID
0 |  |  | 0 | 0 | 0
| Quantity | Code | Description | Name of Circuit and Location From Which Disconnected. |  | Date Disconnected
| A | B | C | D |  | E
1
2
3
4
5
6
7
8
9
10
11
12
13
14
Service Supplier Representative |  |  |  | * Note complete form and place in job package for auditing
purposes.
Note on G5: Qwest: date form is completed
Note on I11: Qwest: actual date equipment was disconnected

## RG47-0013 Ser Degradation Rpt
0
Service Interruption / Service Degradation Report
To: |  |  | Location:
Office | City | State | BVAPP
0 | 0 |  | 0
Time & Date Reported |  | Time & Date Cleared
Type of Equipment |  | MOP Completed/Approved? ____Yes ____No
Description of Service Interruption:
Corrective Action Taken:
Service Supplier Company Name |  | Telephone #
Service Supplier Rep Signature: |  | Date:

## RG47-0157 CLEC JT Test Record
CLEC JOINT TEST RECORD
DATE
BVAPP | JOB ID |  | CLLI |  | OFFICE NAME |  | City & State
0 | 0 |  | 0 |  | 0 |  | 0
TEST EQUIPMENT USED |  | TYPE CIRCUIT
|  | DS-0 | DS-1 | DS-3 | Alarms | Power | Timing | Fiber
FROM (ex: MDF, RR & Shelf) |  | TO (ex: MDF, RR & Shelf) |  |  |  | LEAD ID / DEFECT TYPE/ CORRECTED (Y/N)
DS-0
DS-1
DS-3
Alarms
Power
Timing
Fiber
INSTALLATION SUPPLIER |  | INSTALLERS NAME(S) (PRINT) |  |  |  | CONTACT NUMBER(S)
0 |  | 0 |  |  |  | 0

## RG47-0160 CLEC Power
CLEC POWER ASSIGNMENTS
OFFICE |  | 0
BVAPP #: |  | 0 |  | BAN # | 0
CLEC Company & Contact: |  | 0 |  | Decommission
CLEC Location ID: |  | 0
CLEC COMPANIES LOAD A
FROM-Qwest
BDFB/PBD Location | Shelf | Fuse/Brkr Position | Fuse/Brkr Amps | Cable Length (top to top) | Quantity of runs | Cable Size
CLEC COMPANIES LOAD B
FROM-Qwest
BDFB/PBD Location | Shelf | Fuse/Brkr Position | Fuse/Brkr Amps | Cable Length (top to top) | Quantity of runs | Cable Size
Contacts: Company and/or Name (24 Hour) | [6 empty] | Telephone #
Installation Supplier: |  | 0 |  |  |  |  | 0
Qwest Operations: |  | 0 |  |  |  |  | 0
Fuses turned over to:

## RG47-0160 CLEC Sync
CLEC SYNC ASSIGNMENTS
OFFICE | 0
BVAPP #: | 0 | BAN # | 0
CLEC Company & Contact: | 0 | Decommission
CLEC Location ID: | 0
CLEC COMPANIES PRIMARY
FROM-Qwest
Relay Rack Location | Shelf | Slot Position | Port
CLEC COMPANIES SECONDARY
FROM-Qwest
Relay Rack Location | Shelf | Slot Position | Port
Contacts: Company and/or Name (24 Hour) |  |  | Telephone #
Installation Supplier: | 0 |  | 0
Qwest Operations: | 0 |  | 0
For Synch Leads: Termination/Unplugged:

## RG47-0160 CLEC DSO
DSO Circuits
Office |  | 0
BVAPP #: |  | 0 |  |  | BAN # | 0
CLEC Company & Contact: |  | 0 |  |  | Decommission
CLEC Location ID: |  | 0
Cable Designation |  | DSO Vertical Location MDF/ICDF |  | Pair Count | Comments/Cable Slack (for decom only) | Cable Mined? Y/N (for decomm only)
DSO LINE SHARING ONLY (Data Only)
Cable Designation | DSO Vertical Location MDF/ICDF |  | Pair Count | Splitter Location (RR/Shelf or MDF/Block Location | Comments/Cable Slack (for decom only | Cable Mined? Y/N (for decomm only)

## RG47-0160 CLEC DS1
DS1 Circuits
Office |  | 0
BVAPP #: |  | 0 |  | BAN # | 0
CLEC Company & Contact: |  | 0 |  | Decommission
CLEC Location ID: |  | 0
Cable Designation | Circuits Cable Count | RR | Panel | Jacks | Cable Slack Length (for decom only) | Cable Mined? Y/N (for decom only)
CLEC Relay Rack Location:

## RG47-0160 CLEC DS3
DS3 Circuits
Office |  | 0
BVAPP #: |  | 0 |  | BAN # | 0
CLEC Company & Contact: |  | 0 |  | Decommission
CLEC Location ID: |  | 0
Cable Designation | Circuits Cable Count | RR | Panel | Jacks | Cable Slack Length (for decom only) | Cable Mined? Y/N (for decom only)
CLEC Relay Rack Location:

## RG47-0160 CLEC Fiber
CABLES FROM Qwest fiber bay to clec equipment
Office |  | 0
BVAPP #: |  | 0 |  | BAN # | 0
CLEC Company & Contact: |  | 0 |  | Decommission
CLEC Location ID: |  | 0
Cable Designation | Circuits Cable Count | FDF RR | Panel | Ports | Cable Slack Length (for decom only) | Cable Mined? Y/N (for decom only)
CLEC Relay Rack Location: